## Slide 1: Smart Grid Vulnerability Analysis Methods
Nyffeler, Lehman, Ward

## Slide 2: Consider, if you Will…
Power interruptions can cripple…
  Payment processors
  Students submitting homework at the last minute
  Sewage pumps
  Medical equipment
  Significant portions of infrastructure for extended periods
  Cellular networks (911 calls)

## Slide 3: Definitions
A smart grid is a computerized power grid.
In the event of a malfunctioning unit (generator or transformer), power can be automatically redirected from elsewhere.
Transformer
Generator
Consumer

## Slide 4: Definitions
A smart grid is a computerized power grid.
In the event of a malfunctioning unit (generator or transformer), power can be automatically redirected from elsewhere.
Transformer
Generator
Consumer

## Slide 7: Background Information
Smart grids can be vulnerable to attacks.
If key points are forced offline, the failures can “cascade.”
Cascade happens when the remaining infrastructure fails to meet the burden being placed on it and components begin to fail.

## Slide 8: Cascade: an Example
Transformer
Generator
1
3
1
1
Max
Total
Load 1
8
Observe how the marked transformer fails in this scenario:

## Slide 9: Cascade: an Example
Transformer
Generator
1
3
1
1
Max
Total
Load 1
+ 1
8
A failure elsewhere cause power to be redirected to the transformer

## Slide 10: Cascade: an Example
Transformer
Generator
1
3
1
1
Max
Total
Load 1
+ 1
2
8
The redirection overloads the transformer

## Slide 11: Cascade: an Example
Transformer
Generator
1
3
1
1
Max
Total
8
The overloaded transformer fails, causing a domino effect that cascades

## Slide 12: Cascade: an Example
Transformer
Generator
1
3
1
1
8
Max
Total
Load 1
Observe how the marked transformer fails in this scenario:

## Slide 13: Cascade: an Example
Observe how the marked transformer fails in this scenario:
Transformer
Generator
1
3
1
8
Max
Total
Load 1
+ 1
1

## Slide 14: Cascade: an Example
Transformer
Generator
1
3
1
8
Load 1
+ 1
2
Max
Total
Observe how the marked transformer fails in this scenario:
1

## Slide 15: Cascade: an Example
1
The initial failure causes a domino effect (cascade).
Transformer
Generator
3
2
2
8
Max
Total

## Slide 16: Research Question
How can we determine the cascading failure point of a system?

## Slide 17: Research Problem
What is our problem?
We need to find out what the most vulnerable points in the grid are, so that we can protect it from potential attacks.

## Slide 18: What Can We Do?
Think like the attacker.

## Slide 19: Thinking Like an Attacker
  Attackers have finite time/money.
  Their attacks need to count.
University
Hospital
Individual
Notes: Minnow and whale for importance? (use animation/pictures)

## Slide 20: Priorities
  The hospital and university are more attractive targets, and a better use of money and time.
University
Hospital
Individual
Notes: Minnow and whale for importance? (use animation/pictures)

## Slide 21: Priorities
  If there’s still time and money left over, then moving to a lesser target is still OK, though.
University
Hospital
Individual
Notes: Minnow and whale for importance? (use animation/pictures)

## Slide 22: What Can We Do?
  Everything they do has a cost
    Systems that can harden locations from attacks frequently have large costs
    Thus, not every location will have the same level of protection
    Some may have no protection at all
    The level of protection afforded to a location is frequently proportional to the attractiveness of disabling that location

## Slide 23: What Can We Do?
  Not all attack points are as “valuable”
    For example, individual houses are not as important as hospitals.
Supports one family
Supports entire communities
Notes: Minnow and whale for importance? (use animation/pictures)

## Slide 24: System Model: What’s Important?
With how attackers think in mind, a system model was developed.
How can our system be simplified while staying applicable to the real world?

## Slide 25: Simplifications
Consumer demand in an area is implied by how much power passes through a transformer.
Consumer
2
Transformer
Town Hall
Notes: These slides need revisited/removed

## Slide 26: Simplifications
Consumer demand in an area is implied by how much power passes through a transformer.
Consumer
2
Transformer
2
Notes: These slides need revisited/removed

## Slide 27: Simplifications
Consumer demand in an area is implied by how much power passes through a transformer.
Consumer
2
3
Transformer
5
+
Notes: These slides need revisited/removed

## Slide 28: Factors
What aspects of the Smart Grid system should we worry about?

## Slide 29: Weight
  Not all attack points are as “valuable”
    For example, individual houses are not as important as hospitals.
Supports one family
Supports entire communities
Notes: Minnow and whale for importance? (use animation/pictures)

## Slide 30: Weight
Individual people might not matter as much as a gas utility company, university, or hospital.
We had to find an objective way to identify structural importance.

## Slide 31: Capacity
There is a limit to the amount of electricity that a transformer can handle.
Parts can only be made to work so hard before they fail.

## Slide 32: Cost
Attacking a transformer requires spending resources
Attackers have a finite resource budget to work with

## Slide 33: System Model
Our system consists of Suppliers, Transformers, and power lines.
Transformers:
  Weight (W)
  Capacity:
  Cost (C)
Notes: Weight: value of customer,
MAIN IDEA: Minimize resources while maximizing cost

## Slide 34: Image Sources
https://www.kissclipart.com/factory-clipart-car-citron-factory-vvucrf/
https://www.wboi.org/post/pfw-reveals-new-athletic-logo
http://www.clker.com/clipart-weight.html
https://fineartamerica.com/featured/1-water-overflowing-cup-zing-images.html
https://pixabay.com/vectors/cash-finance-financial-green-ideas-1296584/
https://veritasdomain.wordpress.com/2016/02/07/why-write-a-post-addressing-the-issue-of-sins-as-reasons-why-people-leave-church/
https://clipartix.com/questions-clipart/
http://www.clker.com/clipart-orange-house-2.html
http://cliparts.co/pictures-of-a-hospital
https://picsart.com/hashtag/hacker/popular-stickers
https://mywordsateme.blogspot.com/2012/01/blurb-about-blurbs.html
https://www.istockphoto.com/jp/%E3%82%A4%E3%83%A9%E3%82%B9%E3%83%88/%E6%BC%8F%E3%82%8C%E3%82%8B?mediatype=illustration&phrase=%E6%BC%8F%E3%82%8C%E3%82%8B&sort=mostpopular